### DNA Fingerprinting

## Cheek cell extraction

- Scrape inside of cheek with sterile loop.

- Twirl loop in 200µl of 5% Chelex buffer.

- Add 2ul of 10mg/ml PK to tube at font bench

- Incubate for 15-30 minutes @ 56oC

- Vortex for 10 seconds

- Spin at max speed for 20 seconds

- Boil for 8 minutes in a 110oC heat block.

- Vortex for 10 seconds

- Spin at max speed for 2-3 minutes.

## Set Up PCR of DNA Extract

#### Behind the Scenes

Kit components will be thawed, vortexed and spun down and a master mix will be made as follows: for each sample to be amplified, add 	-21µl Reaction Mix (buffers, dNTPs,)

- 1µl Taq Gold Polymerase

- 11µl primer mix

*The primer mix contains all 10 primer pairs, with one of each pair fluorescently labelled*

This mix will be vortexed gently for 5 seconds and quickly spun and then dispense into 30ul aliquots in each tube.

In Class:

At the front bench, choose the tube with your number on it and add 20ul of the supernatant from your DNA extraction to this tube at the front bench, close the tube and place in the rack.  The counter and pipetman will be wiped down with 10% bleach between each template addition in an effort to limit cross contamination.

Your 50µl reaction will be placed in a PCR machine and run as follows:

95oC 11minutes

28 cycles of the following:

94oC 1 minute

59oC 1 minute

72oC 1 minute

60oC 45minutes

25oC till collected

## Loading on the 3130xl Genetic Analyzer

# Behind the Scenes

A master mix will be made of Hi Di Formamide (this keeps the DNA strand denatured for cleaner results) and GS-500 Rox size standard, whereby 8.5µl of formamide and 0.5µl of size standard will be added for each sample plus 1.  This will then be dispensed in 9µl aliquots into genetic analyzer tubes labeled with your numbers.

1 µl of your PCR product will be added to the appropriate tube.

Samples will be heated to 95oC for 3 minutes and quick cooled in an ice bath.

These will then be placed on the genetic analyzer for you.  If anyone would like another/better look at the genetic analyzers, let me know and I will show you in smaller groups.